## COST ESTIMATE
503967 - BID FORM
2019 WATER MAIN REPLACEMENTS
For furnishing all labor, equipment, and incidentals as outlined in the CONTRACT SPECIAL CONDITIONS for the construction of water facilities as outlined below:
BID ITEM |  | DESCRIPTION | UNIT PRICE | UNIT
OVERHEAD
1 |  | FOR PRECONSTRUCTION MEETING, PUBLIC OUTREACH, REVIEW OF PROJECT PLAN, OBTAINING ALL NECESSARY PERMITS, AND PROJECT CLOSEOUT | $ | PER PROJECT
PIPE INSTALLATION
FOR SITE PREPARATION AS DETAILED IN SECTION 5.D.2-5.D.9 IN STATEMENT OF WORK, TIE-INS TO EXISTING MAINS, REMOVAL OF ABOVE-GROUND FEATURES, COMPACTION ASSOCIATED WITH BACKFILL, COMMISSIONING, AND STREET, LANDSCAPE, AND HARDSCAPE RESTORATION.
2 |  | FOR INSTALLING POLYVINYL CHLORIDE PIPE, as specified
| A | 6" PVC | $ | LINEAR FOOT
| B | 8" PVC | $ | LINEAR FOOT
| C | 12" PVC | $ | LINEAR FOOT
3 |  | FOR INSTALLING DUCTILE IRON PIPE, as specified
| A | 6" DI | $ | LINEAR FOOT
| B | 8" DI | $ | LINEAR FOOT
| C | 12" DI | $ | LINEAR FOOT
BACKFILL
4 |  | FOR FURNISHING SELECT BACKFILL MATERIAL, AS SPECIFIED, COMPLETE IN PLACE
| A | NATIVE FILL | 0 | CUBIC FOOT
| B | CLASS 6 ROAD BASE | $ | CUBIC FOOT
| C | CONTROLLED LOW-STRENGTH MATERIAL | $ | CUBIC FOOT
FIRE HYDRANTS
5 |  | FOR INSTALLING FIRE HYDRANTS, INCLUDING BRANCH LINE AND HYDRANT VALVE, REMOVAL OF ABOVE-GROUND FEATURES, COMPACTION ASSOCIATED WITH BACKFILL, AND STREET, LANDSCAPE, AND HARDSCAPE RESTORATION.
| A | Hydrant, Branch Line, and Valve Installation | $ | PER INSTALLTION
COPPER CHANGEOVERS
6 |  | FOR REMOVAL AND REPLACEMENT OF WATER SERVICE LINES, AS SPECIFIED, COMPLETE IN PLACE, REMOVAL OF ABOVE-GROUND FEATURES, AND ASSOCIATED STREET, LANDSCAPE, AND HARDSCAPE RESTORATION.
| A | 3/4-INCH COPPER | $ | PER CHANGEOVER
| B | 1-INCH COPPER | $ | PER CHANGEOVER
| C | 1.5-INCH COPPER | $ | PER CHANGEOVER
| D | 2-INCH COPPER | $ | PER CHANGEOVER
LEAD SERVICE LINE REPLACEMENTS
7 |  | FOR REMOVAL OF LEAD SERVICE LINES AND REPLACEMENT OF SERVICE LINE, METER, AND METER PIT, ADDITIONAL PUBLIC OUTREACH FOR LSLs, REMOVAL OF ABOVE-GROUND FEATURES, AND ASSOCIATED STREET, LANDSCAPE, AND HARDSCAPE RESTORATION.
| A | 3/4-INCH COPPER | $ | PER REPLACEMENT
| B | 1-INCH COPPER | $ | PER REPLACEMENT
| C | 1.5-INCH COPPER | $ | PER REPLACEMENT
| D | 2-INCH COPPER | $ | PER REPLACEMENT
PROJECT MOBILIZATION
8 |  | FOR MOBILIZATION FROM PROJECT TO PROJECT, AS SPECIFIED IN STATEMENT OF WORK AND CONTRACTOR'S RESPONSIBILITIES | $ | PER PROJECT
TAPS (IF REQUESTED BY DENVER WATER)
9 |  | Installation of tap (if required)
| A | 3/4-INCH COPPER | $ | PER TAP
| B | 1-INCH COPPER | $ | PER TAP
| C | 1.5-INCH COPPER | $ | PER TAP
| D | 2-INCH COPPER | $ | PER TAP